ASSEMBLY INSTRUCTIONS

Dove Wall Sconce (Item# FB155-1176)

Caution:

- FOR YOUR SAFETY: Turn off the power to main electric circuit/ fuse box before beginning work.

Important Safety Instructions:

- Professional installation is recommended for hardwired lighting. Incorrect installation can lead to fires.

- These instructions are provided for your safety. It is very important that they are read carefully and completely before assembling fixture.

- We strongly recommend that two people install the lighting fixture.

- This fixture has been rated for up to two (2) 40-watt maximum TYPE B bulbs or two (2) 4-watt E12 LED light bulbs (not included). To avoid the risk of fire, do not exceed the recommended wattage.

- This lighting fixture is intended for indoor, residential use.

# Warning:

- To reduce the risk of fire, electrical shock or personal injury, do not turn on lighting fixture until light bulb is installed and assembly is complete.

- Always turn off the lighting fixture and allow it to cool before replacing the light bulb.

# Care Instructions:

- Do not polish or use harsh cleaners as they may damage the finish.

- Wipe clean with a non-colored, lint-free soft, dry cloth.

# Pre-assembly:

- Remove all parts and hardware from box along with any plastic protective packaging.

- Check that all parts listed are included.

- Do not discard any contents until after assembly is complete to avoid accidentally discarding small parts or hardware.

# Component List

| # Part code | # Component | # Description | # Qty |
| --- | --- | --- | --- |
| # A |  | # Body with clear cord | # 1 |
| # B |  | # Shades | # 2 |
| # C |  | # Socket caps | # 2 |
| # D |  | # Bulbs | # Not included |

# Hardware List

| # Part code | # Component | # Description | # Qty |
| --- | --- | --- | --- |
| # a |  | # Mounting plate | # 1 |
| # b |  | # Plastic screw anchors and grub screws | # 4 |
| # c |  | # Mounting screws | # 2 |

# Assembly Instructions:

# Step 1. Unpack and place all parts on a surface or floor.

# Step 2. Secure the mounting plate (a) to the wall by using plastic screw anchors and grub screws (b) to ensure stability.

Step 3. Use a cross-headed screwdriver (not included) to affix screws (c) to body(A) then connect body(A) to mounting plate (a).

Step 4. Remove the socket caps (C) from socket. Carefully place the shades (B) onto the body (A), and then screw the socket caps onto the socket.

Step 5. Insert the light bulbs D (not included) into both top and bottom shades, twist the bulbs onto the body (A).

Step 6.  Assembly is completed.