ASSEMBLY INSTRUCTIONS

Iron Chrislie Chandelier (item#II150-0001/II150-0075)

Important Safety Instructions:

- We recommend you contact a professional electrician to install any hardwired lighting. Incorrect installation can lead to fires.

- These instructions are provided for your safety. It is very important that they are read carefully and completely before assembling fixture.

- This fixture has been rated for up to (6) 25-watt maximum TYPE A bulbs or (6) 9-watt compact fluorescent light bulbs. To avoid the risk of fire, do not exceed the recommended wattage.

# Pre-assembly:

- Do not discard any contents until after assembly is complete to avoid accidentally discarding small parts or hardware.

- Remove all parts and hardware from box along with any plastic protective packaging.

Parts Enclosed:

| Item | Description | QTY |
| --- | --- | --- |
| A | Plastic wire connectors | 3 |
| B | Mounting screws | 2 |
| C | nut | 2 |
| D | canopy | 1 |
| E G | tube | 2 |
| F | Lock | 1 |
| H | hexagon wrench | 1 |

# To install you will need: Screwdriver/Electrical tape

# Assembly Notes:

Care instructions:

• Wipe with soft dry cloth only

• Always avoid the use of harsh chemicals or abrasive as they may damage to the finish.

Thank you for your purchase