ASSEMBLY INSTRUCTIONS

Pendent Metal Bar 5 light Pendent (Item#:II151-0025)

Important Safety Instructions:

- We recommend you contact a professional electrician to install any hardwired lighting. Incorrect installation can lead to fires.

- These instructions are provided for your safety. It is very important that they are read carefully and completely before assembling fixture..

- This fixture has been rated for up to (5) 40-watt maximum TYPE B bulbs (not included) or (5) 9-watt compact fluorescent light bulbs (not included). To avoid the risk of fire, do not exceed the recommended wattage.

# Pre-assembly:

- Do not discard any contents until after assembly is complete to avoid accidentally discarding small parts or hardware.

- Remove all parts and hardware from box along with any plastic protective packaging.

Parts Enclosed:                              Hardware Included:

# To install you will need: Screwdriver/Electrical tape

# Assembly Notes:

- “S” hook (h) can help hold the fixture in order to help connect the wires more easily.

- Please do not open all Poly foams (E) until the whole fixture be assembled completely. To avoid glass shade be cracked during assembly process.

Care instructions:

• Wipe with soft dry cloth only

• Always avoid the use of harsh chemicals or abrasive as they may damage to the finish.

Thank you for your purchase