   [image: image1.png]INKHVY




                        ASSEMBLY INSTRUCTIONS
            Mandal Pendants (Item#: II151-0101)
Important Safety Instructions:
We recommend you contact a professional electrician to install any hardwired lighting. Incorrect installation can lead to fires.

These instructions are provided for your safety. It is very important that they are read carefully and completely before assembling fixture..
This fixture has been rated for up to (4) 60-watt maximum TYPE A bulbs or (4) 13-watt compact fluorescent light bulbs . To avoid the risk of fire, do not exceed the recommended wattage.
Pre-assembly:

Do not discard any contents until after assembly is complete to avoid accidentally discarding small parts or hardware.

Remove all parts and hardware from box along with any plastic protective packaging.

Parts Enclosed:                              Hardware Included:
[image: image2.png]Iltem Description QTY
a Mounting screw 2
b Plastic wire

connectors
c Canopy screws




[image: image3.png]ltem

Description

QTY

Mounting
crossbar

Canopy

Metal caps

Sockets

Glass shades

mm|o|0|w

Socket rings

B[R] =





To install you will need: Screwdriver/Electrical tape
[image: image4.png]IIIIIIIIIIII





Care instructions:

• Wipe with soft dry cloth only
• Always avoid the use of harsh chemicals or abrasive as they may damage to the finish.

Thank you for your purchase
