ASSEMBLY INSTRUCTIONS

Beckton Pendant (item#MPS151-0094)

Important Safety Instructions:

- We recommend you contact a professional electrician to install any hardwired lighting. Incorrect installation can lead to fires.

- These instructions are provided for your safety. It is very important that they are read carefully and completely before assembling fixture.

- This fixture has been rated for up to 60-watt maximum TYPE A bulbs or13-watt compact fluorescent light bulbs. To avoid the risk of fire, do not exceed the recommended wattage.

# Pre-assembly:

- Do not discard any contents until after assembly is complete to avoid accidentally discarding small parts or hardware.

- Remove all parts and hardware from box along with any plastic protective packaging.

Parts Enclosed:

| Item | Description | QTY |
| --- | --- | --- |
| A | Plastic wire connectors | 3 |
| B | bolts | 2 |
| C | Mounting screws | 2 |
| D | canopy | 1 |
| E | flying rings | 1 |
| F | bulb | 1 |
| G | Glass tube | 30 |

# To install you will need: Screwdriver/Electrical tape

# Assembly Notes:

Note:

Need to insert the bulb first and then assembly the glass tube. when change the bulb you need to pull out 5 pcs glass tube .

Care instructions:

• Wipe with soft dry cloth only

• Always avoid the use of harsh chemicals or abrasive as they may damage to the finish.

Thank you for your purchase