ASSEMBLY INSTRUCTIONS

Stacked Glass Floor Lamp ( Item#: MPS154-0010)

Important Safety Instructions:

- For safety purpose, this lamp is equipped with a polarized plug (one blade is wider than the other). If the plug does not fit securely into your outlet, do not force it, contact a professional electrician. Never alter the plug in any way.

- These instructions are provided for your safety. It is very important that they are read carefully and completely before assembling fixture..

- This fixture has been rated for up to (1) 100-watt maximum TYPE A bulb (not included) or (1) 23-watt compact fluorescent light bulb (included). To avoid the risk of fire, do not exceed the recommended wattage.

# Pre-assembly:

- Do not discard any contents until after assembly is complete to avoid accidentally discarding small parts or hardware.

- Remove all parts and hardware from box along with any plastic protective packaging.

Parts Enclosed:                              Hardware Included:

# Warning:

- Wires and cables are all attached (further wiring is not needed from consumer). When unpacking product, be careful to not pull wires as it may result as a bad connection. Do not plug into electrical outlet until lamp is fully assembled.

# Note:

# Turn the power off (unplug from the wall outlet) before replacing the bulb. Make sure the bulb has sufficient time to cool down.

# Assembly Instruction:

# Step1. Unpack and place all parts on a surface or floor.

# Step2. Attach the bottom end of the Lower tube (L) onto the threaded nipple at the top of the Lamp base (M) by rotating clockwise until tight.

# Step3. Attach the bottom end of one Metal tube (K) onto top end of the installed Lower tube (L) by rotating clockwise until tight.

# Step4. Assemble the remaining Metal tube (K) onto the installed Metal tube (K) by rotating clockwise until tight.

Step5. With the help of another people, insert the Crimp connector B (d) through the one Cylinder glass (I) and gently position the Cylinder glass (I) over the top end of the installed Metal tube (K). Lower the Cylinder glass (I) until it is seated and resting on the top of the Lamp base (M).

Step6. Using the same procedure as step5, position the remaining Cylinder glasses (I) onto installed Cylinder glasses (I) until secure.

Step7. Place Metal ring (H) onto the top of upper installed Cylinder glass (I). Insert 2 Allen screws (b) into the Metal ring (H) and tighten to secure the Cylinder glass (I) in place using the Allen wrench (a).

Step8. Fully insert the Crimp connector A (c) into the Crimp connector B (d) and secure this joint by tightening.

Step9. Insert the assembled Crimp Connectors A&B (c&d) and power cord into the top end of the installed Metal Tube (K) and attach the bottom threaded portion of the Socket (F) into the top end of the Metal tube (K) by rotating clockwise until tight.

- Step10. Raise the Harp caps (E) and insert the bottom ends of Harp (D) into the Saddle (G)

- Step11. Lower the Harp caps (E) until they cover the two-pronged Saddle (G)

Step12. Unscrew the Finial (A) from the Harp top (C)

Step13. Place the Shade (B) over the Harp (D) making sure the Harp top (C) extends through the top ring of Shade (B). Secure the Shade (B) by turning the Finial (A) onto the Harp top (C).

Step14.Pull cord from bottom of Lamp Base (M) to rework slack

Step15. Screw the light bulb (not included) into the Socket (F).

Step16. Assembly is complete.

Care instructions:

• Wipe with soft dry cloth only

• Always avoid the use of harsh chemicals or abrasive as they may damage to the finish.

Thank you for your purchase