ASSEMBLY INSTRUCTIONS

Barrow Pandent  (Item#: MT151-0017)

Important Safety Instructions:

- We recommend you contact a professional electrician to install any hardwired lighting. Incorrect installation can lead to fires.

- These instructions are provided for your safety. It is very important that they are read carefully and completely before assembling fixture..

- This fixture has been rated for up to (6) 25-watt maximum TYPE B bulbs (not included) or (6) 9-watt compact fluorescent light bulbs (not included) or (6) 4-watt standard base LED bulbs (not included). To avoid the risk of fire, do not exceed the recommended wattage.

# Pre-assembly:

- Do not discard any contents until after assembly is complete to avoid accidentally discarding small parts or hardware.

- Remove all parts and hardware from box along with any plastic protective packaging.

Parts Enclosed:                                             Hardware Included:

| Item | Description | QTY |
| --- | --- | --- |
| A | Mounting Plate | 1 |
| B | Canopy | 1 |
| C | Tube | 1 |
| D | Lamp Body | 1 |
| E | Arm | 3 |

To install you will need: Screw driver/Electrical tape

# Care instructions:

• Wipe with soft dry cloth only

• Always avoid the use of harsh chemicals or abrasive as they may damage to the finish.

Thank you for your purchase